[image: image1.jpg]



[image: image2.png]ounty

FLORIDA





Re-Roofing Inspection Requirements (Owner-Builder) 
Once permit application is issued the applicant will receive a copy of the Permit-Inspections Job Card to be posted at the job site. A copy of the Notice of Commencement, & All Product Approvals are required to be uploaded to the portal and posted to the job site. 

The below inspections are required for all Residential roof replacements. 
Roof Standard (Shingle, Metal, Mod-Bit Membrane/Membrane Coatings):

· (106)ROOF SHEATHING – Required to verify renailing of Existing Decking/Sheathing

· (139)COMBINED DRY-IN, FLASHING, & IN-PROGRESS: 100% of underlayment, 100% of flashing, leave valleys exposed, Portion of starter strip visible, Portion of drip edge visible, No More than 50% of roof covering installed on any roof plane/slope/sections of Shingles exposed and nailed complete per Manufacturers Specs. - Metal Panels (Portion of Clips/Seams Exposed) and fully fastened per Manufacturers Specs.

· Final (117): Roof 100% Complete, site cleaned up.
· TPO Membrane (804)ROOF IN-PROGRESS ONLY – Then (803)ROOF FINAL
Roof Standard - 3 Step Process (Tile):

· (106)ROOF SHEATHING – Required to verify renailing of Existing Decking/Sheathing

· 1st Step – ABSOLUTELY NO TILE LOADED ON ROOF – 

(140)ROOF DRY-IN & FLASHING: 100% of underlayment, 100% of flashing, 100% roof penetrations.  Verify Ridge Metal/Approved Risers are installed.

· 2nd Step – (132)ROOF IN-PROGRESS: No More than 50% of roof covering installed on any roof plane/slope/section, verify ridge metal/Approved risers are installed. 

· 3rd Step – (117)BUILDING FINAL: Roof 100% Complete, all debris cleaned up.
Roof Over - Shingle over Shingle or Metal over Shingle 
· Can only be done over one layer of Existing Roof Covering.
· Requires (156)PRE-INSPECTION ROOF OVER (ROOF STANDARD) OR (805)PRE-INSPECTION (ROOF OVER) ROOF EXPRESS
· (132)ROOF IN-PROGRESS-(ROOF STANDARD) (804)ROOF IN-PROGRESS-(EXPRESS): Portion of starter strip visible and Nailed Complete, No More than 50% of roof covering installed on any roof plane/slope/sections of Shingles Exposed and nailed complete per Manufacturers Specs. – 

Metal Panels (Portion of Clips/Seams Exposed) and fully fastened per Manufacturers Specs
· (117) BUILDING FINAL-(ROOF STANDARD) (803) ROOF FINAL-(EXPRESS) Completed Roof, all debris cleaned up. 
Note: Any re-roof permit that did not receive a sheathing inspection, may receive disapproval at final inspection and may be subject to removing all of the roof covering, to allow inspection of the underlayment and nailing of the sheathing
Schedule Inspections: 

· VUSPEX GO APP (Virtual Options)

· Access online portal https://aca-prod.accela.com/manatee
· Phone: (941) 749-3047 

· Text “schedule” to 833-392-8861 
Rev 2/27/2026
Rev 2/27/2026


