## Lsinfo 2021 Master File
LIFT STATION INFORMATION FORM
PROJECT NAME | PUMP #1
ENGINEER | MAKE:
CONTRACTOR | MODEL:
LIFT STATION NAME / RTU | SERIAL#
STREET ADDRESS | HORSEPOWER:
CITY | DISCHARGE SIZE:
GPM | IMPELLER SIZE:
TDH | VOLTAGE:
WET WELL SIZE (DIAMETER) | PHASE:
WET WELL TOP ELEVATION | R.P.M.:
PUMP GUIDE RAIL MODEL | PUMP #2
WET WELL RISER PIPE SIZE | MAKE:
WET WELL RISER PIPE TYPE | MODEL:
INFLUENT LINE SIZE | SERIAL#
INFLUENT LINE ELEVATION | HORSEPOWER:
WET WELL BOTTOM SLAB ELEVATION | DISCHARGE SIZE:
GATE VALVE MANUFACTURER | IMPELLER SIZE:
CHECK VALVE MANUFACTURER | VOLTAGE:
GATE & CHECK VALVE SIZE | PHASE:
ROUGH SERVICE(PUMP OUT) SIZE | R.P.M.:
ELECTRICAL SERVICE VOLTS | PUMP#3 | (IF APPLICABLE)
ELECTRICAL SERVICE PHASE | MAKE:
MAIN CIRCUIT BREAKER MODEL NO. | MODEL:
CONTROL CIRCUIT BREAKER MODEL NO. | SERIAL#
PUMP CIRCUIT BREAKER MODEL NO. | HORSEPOWER:
SOFT START/MOTOR STARTER MAKE & SIZE | DISCHARGE SIZE:
VFD MAKE & SIZE | IMPELLER SIZE:
ELECTRIC METER NUMBER | VOLTAGE:
WATER METER NUMBER | PHASE:
BACKFLOW SERIAL NUMBER | R.P.M.:
FORCE MAIN SIZE | FLOWMETER
FORCE MAIN PIPE TYPE | MAKE:
FORCE MAIN LENGTH | MODEL:
DOWNSTREAM LIFT STATION | SERIAL#:
GENERATOR MAKE | ATS
GENERATOR MODEL | MAKE:
GENERATOR SERIAL NUMBER | MODEL:
TRANSDUCER/BUBBLER/RADAR | SERIAL#:
FORCE MAIN TERMINATION LOCATION
REV 2025