ADDITIONAL WATER QUALITY INFORMATION (2024)
The accompanying table lists additional regulated (secondary) and non-regulated parameters that were detected in the finished water during 2024.  

No adverse health effects are generally associated with the secondary drinking water contaminants. At considerably higher concentrations than the Maximum Contaminant Levels (MCLs), health implications may exist as well as aesthetic degradation.
	Additional Parameters
	MCL
	Maximum Value
	Range of Results

	2,4,6- Trichlorophenol (ug/L)
	NR
	0.11
	ND – 0.11

	Aluminum (ug/L)
	200
	64
	23 – 64

	Butylbenzylphthalate (ug/L)
	NR
	0.57
	ND – 0.57

	Chloride (mg/L)
	250
	23
	15 – 23

	Color (CU)
	15
	10
	ND – 10

	Copper (ug/L)
	1000
	12
	0.86 – 12

	Di-n-butylphthalate (ug/L)
	NR
	0.41
	ND – 0.41

	Isophorone (ug/L)
	NR
	0.069
	ND – 0.069

	Manganese (ug/L)
	50
	8.9
	ND – 8.9

	Metolachlor (ug/L)
	NR
	0.27
	0.034 – 0.27

	pH (units)
	6.5 – 8.5
	7.5
	7.2 – 7.5

	Odor (TON)
	3
	5
	1 – 5

	Sulfate (mg/L)
	250
	132
	79 – 132

	Total alkalinity (mg/L as CaCO3)
	NR
	73.5
	18.5 – 73.5

	Total dissolved solids (mg/L)
	500
	254
	140 – 254

	Total hardness (mg/L as CaCO3)  
	NR
	259*
	90 – 259

	Zinc (ug/L)
	5000
	130
	91 – 130


* To calculate hardness in grains per gallon, divide by 17.1
TABLE KEY & DEFINITIONS     

CU: Color Units

ND: not detected
NR: not regulated



MCL: Maximum Contaminant Level
ug/L: micrograms per liter or parts per billion


mg/L: milligrams per liter or parts per million
Other contaminants that were tested for but not detected include: nitrite; cadmium; cyanide; lead; mercury; nickel; antimony; beryllium; thalium; iron; silver; foaming agents; combined uranium; 1,2,4-trichlorobenzene; cis-1,2-dichloroethylene; xylenes; o-dichlorobenzene; para-dichlorobenzene; vinyl chloride; 1,1-dichloroethylene; trans-1,2-dichloroethylene; 1,2-dichloroethane; 1,1,1-trichloroethane; carbon tetrachloride; 1,2-dichloropropane; trichloroethylene; 1,1,2-trichloroethane; tetrachloroethylene; monochlorobenzene; benzene; toluene; ethylbenzene; styrene; endrin; lindane; methoxychlor; toxaphene; dalapon; diquat; endothall, glyphosate; di(2-ethylhexyl)adipate; oxamyl; simazine; di(2-ethylhexyl)phthalate; picloram; dinoseb; hexachlorocyclopentadinene; carbofuran; alachlor; 2,3,7,8-TCDD (dioxin); heptachlor; heptachlor epoxide; 2,4-D;  2,4,5-TP (silvex); hexachlorobenzene; benzo(a)pyrene; PCBs; dibromochloropropane; ethylene dibromide (EDB); chlordane; dicamba; 1,1,1,2-tetrachloroethane; 1,1,2,2-tetrachloroethane; 1,1-dichloroethane; 1,1-dichloropropene; 1,2,3-trichloropropane; 1,3-dichlorobenzene; 1,3-dichloropropane; 2,2-dichloropropane; 2-chlorotoluene; 4-chlorotoluene; bromobenzene; bromomethane; chloroethane; chloromethane; dibromomethane; dichlorodifluoromethane; methyl-tert-butyl ether, trichlorofluoromethane; aldrin; dieldrin; metribuzin; propachlor; 3-hydroxycarbofuran; aldicarb; aldicarb sulfone; aldicarb sulfoxide; carbaryl, methomyl; 2,4-dinitrotoluene; 2-chlorophenol; 4,6-dinitro-2-methylphenol; diethylphthalate; dimethylphthalate; di-n-octylphthalate; phenol
